THE UNIVERSITY OF IOWA

DESIGN STANDARDS & PROCEDURES

September 2023 EDITION

PREFERMENT 04

UIHC Cove Filler Strips

EFFECTIVE DATE:  January 31, 2024

The information contained in this Preferment modifies, supplements, or replaces information contained in The University of Iowa Design Standards & Procedures.

APPLICABLE SECTION:	Section III – General Design Standards and Outline Specifications and Details

ATTACHMENT(S):	NONE

APPLICABLE TO SECTION III – General Design Standards and Outline Specifications and Details:

ITEM #1	Subsection 9) Finishes:

Article 5. Floor Finishes

Replace the following article

5.13.1.9.	All cove filler strips to be Johnsonite CFS 00 A 1.25 inch.

With

5.13.1.9.	All cove filler strips to be FlashCove 1.25 inch.

END OF PREFERMENT