THE UNIVERSITY OF IOWA

DESIGN STANDARDS & PROCEDURES

September 2023 EDITION

PREFERMENT 07

UI Utilities – Tracer Wire

EFFECTIVE DATE:  April 5, 2024

The information contained in this Preferment modifies, supplements, or replaces information contained in The University of Iowa Design Standards & Procedures.

APPLICABLE SECTION:	Section III – General Design Standards and Outline Specifications and Details

ATTACHMENT(S):	NONE

APPLICABLE TO SECTION III – General Design Standards and Outline Specifications and Details:

ITEM #1	Subsection 33) Utilities

Article 2. Utility Tracer Wire

ADD the following articles:

2.12	Tracer wire is not required on gravity fed sewer, storm, or sanitary systems.

END OF PREFERMENT